## R2
R2 difference in ChemStation, Excel, Google Docs and QuantBrowser
|  | ChemStation Data | Target |  | ISTD |  | Ratio
|  |  | Resp | Conc | Conc | Rep | Conc | Resp
|  |  | 4258969 | 3000 | 2000 | 2839917 | 1.5 | 1.4997
|  |  | 2176907 | 1500 | 2000 | 2800383 | 0.75 | 0.77736
|  |  | 1441676 | 1000 | 2000 | 2696312 | 0.5 | 0.53468
|  |  | 711291 | 200 | 2000 | 2666580 | 0.1 | 0.26674
|  |  | 141234 | 100 | 2000 | 2657674 | 0.05 | 0.053142
[7 empty] | Yavg | 0.62632
|  | ChemStation Regression |  | Qdr | QdrOrg | Lin | LinOrg | AvgRF
|  |  | a | 0.02131 | -0.1011
|  |  | b | 0.9098 | 1.147 | 0.9425 | 1.018 | 1.367
|  |  | c | 0.08556 |  | 0.07968
|  |  | R2 | 0.98857 | 0.98566 | 0.98847 | 0.98847
|  |  | %RSD |  |  |  |  | 0.532
|  |  | Yexp | f(x)
|  |  |  | Qdr | QdrOrg | Lin | LinOrg | AvgRF
|  |  |  | 1.4982 | 1.493 | 1.4934 | 1.527 | 2.0505
|  |  |  | 0.7799 | 0.80338 | 0.78656 | 0.7635 | 1.0252
|  |  |  | 0.54579 | 0.54822 | 0.55093 | 0.509 | 0.6835
|  |  |  | 0.17675 | 0.11369 | 0.17393 | 0.1018 | 0.1367
|  |  |  | 0.1311 | 0.057097 | 0.12681 | 0.0509 | 0.06835
| Total (Yact-Yavg) | Difference | -0.87336
-0.15104
0.091638
0.35958
0.57318
|  | Sum | 0
|  | difference | 0.76276
0.022813
0.0083975
0.1293
0.32854
|  | Squared Sum Total | 1.2518
| Error (Yact-Yexp) | Difference |  | -0.0014733 | -0.0066558 | -0.0062508 | 0.027319 | 0.55082
|  |  |  | 0.0025364 | 0.026021 | 0.0091945 | -0.01386 | 0.24789
|  |  |  | 0.011103 | 0.013541 | 0.016246 | -0.025684 | 0.14882
|  |  |  | -0.08999 | -0.15305 | -0.092813 | -0.16494 | -0.13004
|  |  |  | 0.077961 | 0.0039553 | 0.073663 | -0.002242 | 0.015208
|  | Sum |  | 0.00013783 | -0.11619 | 3.958e-05 | -0.17941 | 0.83269
|  | Squared |  | 2.1706e-06 | 4.43e-05 | 3.9073e-05 | 0.00074634 | 0.3034
|  |  |  | 6.4334e-06 | 0.00067708 | 8.454e-05 | 0.00019211 | 0.061449
|  |  |  | 0.00012328 | 0.00018335 | 0.00026392 | 0.00065969 | 0.022146
|  |  |  | 0.0080981 | 0.023425 | 0.0086142 | 0.027206 | 0.016911
|  |  |  | 0.006078 | 1.5644e-05 | 0.0054262 | 5.0264e-06 | 0.00023128
|  | Squared Sum Error |  | 0.014308 | 0.024346 | 0.014428 | 0.028809 | 0.40414
| Regression (Yexp-Yavg) | Difference |  | -0.87189 | -0.8667 | -0.86711 | -0.90068 | -1.4242
|  |  |  | -0.15357 | -0.17706 | -0.16023 | -0.13718 | -0.39893
|  |  |  | 0.080535 | 0.078097 | 0.075392 | 0.11732 | -0.057178
|  |  |  | 0.44957 | 0.51263 | 0.45239 | 0.52452 | 0.48962
|  |  |  | 0.49522 | 0.56922 | 0.49952 | 0.57542 | 0.55797
|  | Sum |  | -0.00013783 | 0.11619 | -3.958e-05 | 0.17941 | -0.83269
|  | Squared |  | 0.76018 | 0.75117 | 0.75188 | 0.81122 | 2.0283
|  |  |  | 0.023585 | 0.03135 | 0.025675 | 0.018818 | 0.15914
|  |  |  | 0.0064858 | 0.0060992 | 0.005684 | 0.013764 | 0.0032693
|  |  |  | 0.20211 | 0.26279 | 0.20466 | 0.27512 | 0.23973
|  |  |  | 0.24524 | 0.32402 | 0.24952 | 0.33111 | 0.31133
|  | Squared Sum Regression |  | 1.2376 | 1.3754 | 1.2374 | 1.45 | 2.7418
| Result | 1-SSE/(SSR+SSE) |  | 0.98857 | 0.98261 | 0.98847 | 0.98052 | 0.87153
|  | 1-SSE/SST |  | 0.98857 | 0.98055 | 0.98847 | 0.97699 | 0.67715
|  | SSR / (SSR+SSE) |  | 0.98857 | 0.98261 | 0.98847 | 0.98052 | 0.87153
|  | SSR / SST |  | 1.6226 | 1.8032 | 1.6223 | 1.9011 | 3.5945
| Summary |  |  | Quadratic | Quadratic (0,0) | Linear | Linear (0,0) | Avg RF
|  | QB 1 - SSE / (SSR+SSE) |  | 0.98857 | 0.98259 | 0.98847 | 0.98051 | 0.87146
|  | ChemStation |  | 0.98857 | 0.98566 | 0.98847 | 0.98847
|  | Excel LINEST |  |  |  | 0.98847 | 0.99103
|  | Excel Chart |  | 0.9886 | 0.9806 | 0.9885 | 0.977
|  | Google docs LINEST SSE/SST |  |  |  | 0.98847 | 0.97699
| Excel Linest bug | http://support.microsoft.com/kb/214230
| Chemstation bug | http://www.azdhs.gov/lab/documents/license/resources/calibration-training/09-linear-forced-through-zero-calib.pdf
| Lecture | http://courses.washington.edu/qsci483/Lectures/20.pdf